CPAISD V12 Final Report

High-resolution 2.5D supervised NCCT ischemic-area segmentation

Date: 2026-06-04

Cloudflare viewer: https://32c21435.cpaisd-v11-v12-viewers.pages.dev

# Executive Summary

The final selected model is V12_penumbra, a high-resolution 2.5D supervised U-Net-style model. The primary target is ischemic area, defined as core plus penumbra. V12_core was trained separately using core-only masks and is reported as an exploratory auxiliary model.

# Model Schematic

# Final Test Metrics

| Model | Target | Threshold | Dice | IoU | Precision | Recall |
| --- | --- | --- | --- | --- | --- | --- |
| V12_penumbra | core + penumbra | 0.55 | 0.4217 | 0.2672 | 0.5505 | 0.3418 |
| V12_core | core-only | 0.70 | 0.0701 | 0.0363 | 0.0734 | 0.0670 |

# Training Parameters

| Parameter | Value |
| --- | --- |
| Input size | 384 x 384 |
| Input context | 5 adjacent axial slices |
| Folds | 5 |
| Epoch budget | 35 |
| Batch size | 2 |
| Optimizer | AdamW |
| Learning rate | 0.0001 |
| Weight decay | 0.0005 |
| U-Net base channels | 24 |
| Dropout2d | 0.08 |
| Early stopping patience | 7 |
| Tissue HU range | 18.0 to 90.0 HU |
| Tversky alpha / beta | 0.75 / 0.25 |
| BCE positive weight | 2.0 |
| Augmentation | rotation +/-7.0 deg; scale 0.94 to 1.06 |

# 5-fold Validation

| Fold | V12_penumbra Dice | V12_penumbra Val Loss | V12_core Dice | V12_core Val Loss |
| --- | --- | --- | --- | --- |
| 1 | 0.3622 | 0.5706 | 0.2850 | 0.5180 |
| 2 | 0.4311 | 0.5659 | 0.2968 | 0.4978 |
| 3 | 0.4119 | 0.5458 | 0.2347 | 0.5151 |
| 4 | 0.3679 | 0.5463 | 0.2782 | 0.5112 |
| 5 | 0.2843 | 0.5629 | 0.2817 | 0.4835 |

# Preprocessing and Target Definition

Brain-window NCCT clipping and intensity normalization were applied before model input.

High-HU skull components were excluded, and water-density CSF/ventricle regions were suppressed using the tissue HU range.

V12_penumbra uses the union of core and penumbra masks as the binary ischemic-area target.

V12_core uses only core label value 1 as the target and is more severely imbalanced.

# Interpretation

The V12_penumbra model is recommended as the final report model. The separate V12_core model provides an auxiliary view but currently has weak held-out test generalization, reflecting the smaller lesion volume and greater label imbalance.